|  |  |
| --- | --- |
| **Aecon Business:** | Major Projects East |
| **Project / Location:** | BNA (Gordie Howe) Canadian Bridge Pier 14 |

|  |  |
| --- | --- |
| **Associated Serious Event Flash:** | Lost Time (mild to severe concussion requiring 4 days away from work) |

|  |
| --- |
| **Event Summary:** |
| |  | | --- | |  |  |  | | --- | | **Worker struck by falling water pump, resulting in mild to severe concussion.**  An electric 2-inch water pump weighing 26lbs fell 18’4” and struck a laborer on the back of the hard hat. The laborer had just descended the ladder to the bottom of the pier tower when the incident occurred. The worker was assigned the task of pumping water out of the pier leg from the inside. The worker's tool belt hung on the power cord at the top of the ladder, and when he reached the bottom, he inadvertently pulled the pump from the concrete platform above him. Operations were stopped for an initial investigation, causing schedule and production delays. The worker was taken to an offsite medical clinic and was diagnosed with a mild to severe concussion.  The following key **contributing factors** were identified:  - Equipment tethers were not being utilized at the time of the accident. - The water pump was not adequately secured or fastened on the platform pier. - The horizontal tube rail was thought to be adequate prevention for dropped objects. - The pump was left in the pier, adding additional clutter in a tight work location. - The power cord of the pump was short, providing additional tension to the cord. | |

|  |
| --- |
| **Lessons Learned to Share** |
| - Initiate a “Process Flow” to prevent dropped objects. - Regularly complete verifications for BNA’s “Safety Absolutes” equivalent to Aecon’s Fatal 8 activity for compliance. - Ensure all staff wear approved hard hats with chin straps. - Supervisors and craft should visually assess their task to prevent entanglement with surrounding objects and cords. - Immediately remove unnecessary tools and equipment that are not needed. - Follow and verify all dropped object prevention SOP’s and requirements. |

|  |  |  |
| --- | --- | --- |
| **Contact for Further Information** | **Name:** | **Email Address:** |

Pictures on The Next Page

|  |  |  |
| --- | --- | --- |
| **Supporting Picture** |  | **Supporting Picture** |
|  |  |

|  |  |  |
| --- | --- | --- |
| **Supporting Picture** |  | **Supporting Picture** |
|  |  |